## MDM
S.No. | Question | Confirmed
1 | Difference between Subtractive and Consumptive measuring components. | Subtractive: Reads (End Read, Start Read) need to be subtracted, Consumptive: Actual consumption is given in the read.
2 | How many measuring components a device can have | Many or Unlimited
3 | What is true about scalar mesauring components (need to choose 3 options)
4 | How to get scalar readings and convert fom one UOM to other UOM | Derived Values
5 | How many derived values a final measurement can have? | 10
6 | After processing IMD went into exception. What is the process of retrying | D1-IMDRetry
7 | IMD can be stored in raw format. | Yes
8 | Which of these statements are true about measurements
9 | How a utility can cofigure the admin types without knowing the exact headend system | Valid Head End System, Valid MC Type, Service Type
10 | Attributes of Measuring Component and Device | MC( Channel ID & Channel Multiplier) , Device ( Model & Manufacturer, Badge Number & Serial Number)
11 | Where HEad End System is defined | Sender in Device Event
12 | Complete loading process | Load Initial Measurements, Perform VEE, Create Final Measurements, Calculate Usage
13 | which BO holds critical validations - D1-IMSeeder | D1-IMDSeeder
14 | If we need to add new critical validations, where is the place to add in D1-IMSeeder (prepocessing algorithm, options, life cycle algorithms) | Pre-Processing Algorithms
15 | VEE Exceptions leveles - Info, Issue, Terminate | info,Issue,Terminate
16 | VEE Rule eligibity criteria. How to create one VEE group with a eligibity criteria. | Add in VEE Rules
17 | IMD went into error while loading and To do created. There is a retry every 30 minutes. How to process this scenario. | D1-IMD Retry batch.
18 | VEE Fullform | Validation, Estimation, and Editing
19 | To create Usage Transaction, what relation should be established | usage subscription
20 | Usage Subscription can have how many service points? | Many
21 | When Subscription communication is possible | When Service Provider is metioned on Usage Subscription Type
22 | Attributes of a usage subscription | Service Provider and Contact
23 | Asset Disposition activities (Asset disposition actions) | In Reciept, In Store, In Repair, Installed, Rejected, Retired, Pending Disposition
24 | Question on Components-Difefrence between asset and component | Assets and components are related in that a component is an asset that is installed on another asset. Components are devices or other objects that are attached to another device, usually an asset. However, a component can be any asset attached to another asset.
25 | To define additonal information on product which is hazard, careful instructions are mentioned on which entity? | Specifications
26 | How is specification linked to asset | Specifications are used to define attributes needed to provide information about assets. A specification is contains the manufacturer, model, and other information about a set of assets. Specifications may also contain written procedures, careful handling instructions for hazardous or delicate materials, or any other set of attributes needed to provide information about a set of assets. Please note the following with regard to specifications: • Specifications often include an attachment which supports the specification definition or provides the actual specification from the manufacturer. • A specification may also include default in service and out of service maintenance schedules for assets or components linked to the specification. When the specification is associated with the asset or component, the related maintenance schedule becomes in effect for the asset or component.
27 | Asset lifecycle? | In Reciept, In Store, In Repair, Installed, Rejected, Retired, Pending Disposition
28 | Asset attributes | Asset Type (with referenced “in receipt” storeroom ) • Storeroom • Specification • Vendor (as applicable) • Measurement Type (as applicable) • Employee • Maintenance Manager • Planner • Cost Center • Service Area
29 | What are 6 different service order orchestration activities | • Enable Service • Disable Service • Cut for Non-Payment: • Reconnect Service for Payment: • Exchange Meter: • Back to Back Service:
30 | If Connect SP or Add Device Service Order intiated, what happens based on SP status | Another Activity / Command initiated
31 | After a device is reconfigured, what happens to existing install events and any new row added in install event? | Install event history is maintained. New install event is created with On history. Existing event status is removed and off history is created.
32 | When a meter exchange happened past year. How many rows will be created in install event | 2
33 | If you are creating new BO on service point, which entities are must to view are edit the new elements in the BO | Display UI map, Display SS, Maint UI map
34 | Where do you configure dervice values | Final measurement type
35 | What are mandatory to create Usage subscription | Service Provider and Contact
36 | Where di you specify, if customer want to be notified about consumption | Person contact on US
37 | What an algorithm plugged in at 'Are SP and Device Ready' | Connect SP
38 | What can D1-Cnsomething algo can do (Connect and install device) | Issue smart meter command
39 | If you are setting up a new AMI where do you start configuration | Valid Headend systems, valid device config and MC
40 | Are channel and Register same? | Yes
41 | Can you edit final measurement | No
42 | Where do you configure Estimate rules | On Estimation role of Measuring Component Type
43 | Device has 2 MCs for import and export, need to do negative consumption check on export only, what are the ways to achieve it? | VEE eligibity Criteria and Skip rule
44 | Can component have specifications | Yes
45 | What all required for determining measurement - something like this | Channel ID, device config
46 | One US - multi SPs possible | Yes
47 | one SP and multiple devices at a time | No
48 | One device - multiple MCs | Yes
49 | One device with scalar and interval MCs | Yes
50 | What all are already performed before loading IMD | Critical check, sum check, hi lo check
51 | At what stage system applies channel multipliers to pre VEE quantities | Prepare for VEE
52 | Usage Recepient is configured in which entity | Usage Subscription Type
53 | In Australia, every location is assigned a National Meter Identifier (NMI) and there can be multiple meters installed at a given NMI at an instant in time. | Parent SP and Child SP
54 | There are 2 registers, one register imports the consumption and other register exports the consumption. How you design the system to cater this requirement | Create device config with 2 MCs one to import and other to export consumption
55 | How to get scalar readings and convert to others (Get Scalar Details usage rule to retrieve scalar measurements for scalar interval measuring components) | GetScalarDetails and ?? / Get Scalar and Axis Conversion ??
56 | What are state algorithms of Enable Service
57 | How are date breaks created in Usage Transaction
58 | How to derive loss adjusted value from a Measurement (Derived Values) | 1) configure Factor , SQI , Derived Algorithm , SP Char. 2) Add SP Char and Factor to Derived Algortihm 3) Mention Derived Algo on MC Type
59 | Derive Algorithms are configured on which entity? | Measuring Component Type
60 | What an algorithm plugged in at 'Are SP and Device Ready' | Customer - Device compatibility check, Conect SP and/or Install Device, Connect Device,Check for Measurement, update US/SP override start date time for enable service
61 | Can you edit final measurement | No
62 | Device has 2 MCs for import and export, need to do negative consumption check on export only, what are the ways to achieve it? | 1) Either create a separate VEE group excluding Negative Consumption Rule 2) Add a eligibility criteria to exclude import mc
63 | From where will we get date break while creating usage subscription | From External CIS system
64 | type of MC are associated to meters that are installed at SP | Physical
65 | Scenario : Multiple Meters Installed at a location at given point of time . How to configure | Create a Parent SP for lcation. No Meter will be installed on this SP.
66 | Criticial Validations Performed by IMD Seeder | Deriving Head End System & Measuring Component
67 | Time Zone defined on which Entity | Device COnfiguration
68 | specify Asset is Hazardous , How to define it on specification | Attribute
69 | if IMD is created in PENDING status | It has passed critical Validations
70 | what is different in Elecrtic Meter & Gas Meter | Service Type & Device BO defined for them
71 | How to Identify a Register / Channel | using UOM/ TOU / SQI
72 | Primary ID for measurement | Measuring Component ID + Measurement Date Time
73 | Where should Additional Logic be defined in IMD lifecycle | Additional Mapping
74 | When an SP installtion record is created ? | Install Device , Meter Configuration Change , Meter Change
75 | How Service Provider identifed the BO to be used for IMD processing | Using Processing Methods
76 | Which usage rule can be used to calculate Loss Adjusted Value ? | Servicee Quantity Math
77 | Which VEE rule can be used to calculate Loss Adjusted Value ? | Apply Formula
Note on A61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Reconsolidated and added following set